EXHIBIT B

to Maintenance Agreement

Long-Term Storm Water Management Plan

(Bountiful City template)

for:

Insert Development Name

Address

Bountiful, UT  84010

Affected Properties:  Replace this text with the parcel #(s)

Replace this text with the Name of Development as recorded on the plat

This Long-Term Storm Water Management Plan describes the systems, operations and the minimum routine maintenance procedures necessary to manage storm water runoff and pollutants originating from or generated on this property.  A diagram showing the storm water control measures, and detail sheets for certain controls are included.

# Map(s) of the Property and Storm Water Features

Attached is a map of the property showing:

  - Name of development and boundary of property

  - Delineated impervious (paved, buildings, etc.) areas and landscaped areas

  - Long-term storm water control features; manufacturer’s name is included for manufactured devices

  - Delineated contributing drainage area for each long-term storm water management facility

  - Access is shown for heavy equipment (if necessary) to reach storm water control measures for maintenance and cleanout (e.g., underground sediment capture devices)

  - Direction of storm water flow in channels, underground pipes and detention spaces

  - Outfall/s where storm water exits the site

# Storm Water Control Measures and Details

Details (e.g. detail sheets) are attached with this plan for the storm water control measures that are on the property – to show outfall boxes, weirs, orifices, underground storage chambers, access, inspection ports, layers of stone and soil media in infiltration features, etc.

The following long-term controls are utilized at this site:

Edit the following table to include only controls used at site, and delete this sentence.

Table 1:  Storm Water Control Measures

| Qty. | Stormwater control | Category* | Size / Capacity | Units |
| --- | --- | --- | --- | --- |
|  | Above Ground Detention | Detention |  | cu. ft. |
|  | Underground Detention | Detention |  | cu. ft. |
|  | Open Space Preservation | Preservation |  | sq. ft. |
|  | Disconnected Impervious Area | Retention or Filtration |  | cu.ft. or sq.ft. |
|  | Natural Buffers | Preservation |  | sq. ft. |
|  | Amended Soils | Retention |  | cu. ft. |
|  | Rain Garden | Retention |  | cu. ft. |
|  | Bioretention Cell | Retention or Filtration |  | cu.ft. or sq.ft |
|  | Infiltration Basin | Retention |  | cu. ft. |
|  | Infiltration Trench | Retention |  | cu. ft. |
|  | Dry Well | Retention |  | cu. ft. |
|  | Underground Infiltration Gallery | Retention |  | cu. ft. |
|  | Bioswale | Retention or Filtration |  | cu.ft. or sq.ft |
|  | Vegetated Strip | Retention or Filtration |  | cu.ft. or sq.ft |
|  | Tree Box Filter | Retention or Filtration |  | cu.ft. or sq.ft |
|  | Green Roof | Retention |  | cu. ft. |
|  | Hydrodynamic Separator (vortex-style) | Filtration |  | cfs |
|  | Multi-Chamber Separator | Filtration |  | cfs |
|  | Other |  |  |  |

* For Combined Categories (e.g. Detention/Infiltration or retention/filtration), list the same control multiple times – once for each category.

Note:  for detention facilities, details should include inlet points, restricted discharge, and key elevations

For all features from manufacturers, include the following:

Manufacturer’s recommended inspection and service protocols as a part of this maintenance plan.

# Maintenance Checklists

We have attached checklist/s for each type of storm water control measures on this site. The checklists will be used by the operator of the facility as a guide to inspect the long-term control. Note that the checklists show a recommended inspection frequency.

# Recordkeeping and reporting

We will keep records of inspections and repairs to the storm water control measures, and also of the amount of litter, trash and sediment that is removed from the system. Records will be kept for three years.

# List of attachments to this maintenance plan

The following are attached as part of this plan:

- Attachment A:  Map(s) of property with storm water control measures, etc.

- Attachment B:  Detail sheets for each storm water treatment control

- Attachment C:  Inspection and maintenance checklists

- Attachment D:  Maintenance and Inspection Log

# Further explanation

- Preparer’s Certification

Must be certified by a licensed PE or landscape architect

This plan has been prepared by me or under my direction and review, and to the best of my knowledge the information provided is correct and true.

Name	Position/Title

Company

Professional’s Stamp & Signature